## Sheet1
CV term | Value | Type | Description
hour_light | 16 | float | rearing light cycle, hours light, eg. 16
hours_dark | 8 | float | rearing light cycle, hours dark, eg. 8
temperature_setpoint | 21 | float | temperature set point for all four incubators listed below
humidity_setpoint | 55 | float | humidity set point for all four incubators listed below
food_recipe | Molasses | string | food raised on, see wiki for recipes, options: Dextrose, Molasses, Caltech_brown, Caltech_green
food_yeasted | N | string | was yeast added to the food, options: Y, N
housing | vials | string | container flies were housed in, options: vials, bottles
number_male_parents | 3 | integer | number of male parents used for cross
number_female_parents | 6 | integer | number of female parents used for cross
gender_line_parent | f | string | gender (m,f,x) of line genotype flies used to set up cross
gender_effector_parent | m | string | gender (m,f,x) of effector genotype flies used to set up cross
observing_daylightsavings | Y | string | Do we switch incubator times to observe daylight savings?
flip_cycle_0_days | 5 | integer | number of days before first flip
flip_cycle_1_days | 5 | integer | number of days before second flip
flip_cycle_2_days | 0 | integer | number of days before third flip
RP_Version_n | 2.2 | float | version number, should match file name, eg. v001p1 = 1.1
created_by | franconviller | LDAP string | LDAP name of person who created the protocol file
date_created | 20191015 | date | date rearing protocol file was created
rearing_incubator | 1 | integer
lights_on | 2000 | float
lights_off | 1200 | float
incubator_serialNumber | 309884-2319 | float
rearing_incubator | 2 | integer
lights_on | 100 | float
lights_off | 1700 | float
incubator_serialNumber | 308345-2325 | float
rearing_incubator | 3 | integer
lights_on | 2000 | float
lights_off | 1200 | float
incubator_serialNumber | 316674-2696 | float
rearing_incubator | 4 | integer
lights_on | 100 | float
lights_off | 1700 | float
incubator_serialNumber | 316674-2694 | float
rearing_incubator | 5 | integer
lights_on | 900 | float
lights_off | 100 | float
incubator_serialNumber | 306139-2198 | float
Reflects the increase in the incubator set point from 21C to 21.8C (although measured temp during protocol 8.1 was ~21.4)
AM lights 700 ON 11PM OFF